**16-03-2021:Sealed Quotations are invited from the reputed firms for purchase of 10KVA Uninterrupted Power Supply with the following specifications and conditions to the Registrar, Sri Krishnadevaraya University called by the Registrar, Sri Krishnadevaraya University, Anantapuramu – 515 003**

|  |  |  |
| --- | --- | --- |
| **S.NO.** | **Description of Item** | **Qty. in Numbers** |
| **1** | **10KVA Uninterrupted Power Supply (NUMERIC/ SOCOMEC MAKE) supporting 4-Hours Backup.** | **2** |
| **2** | **Amron Quanta SMF 100AH Batteries**  **(24 Nos for each UPS)** | **48** |
| **3** | **Battery stands for holding 24 Numbers of Batteries** | **2** |
| **4** | **Installation Charges along with required amount of Cabling** |  |

**NOTE : offered price should be inclusive of GST**

**TERMS &CONDITIONS :**

1. **Three Years warranty for Equipment**
2. **100% payment against after installation**
3. **Batteries Life& Guarantee should be specified clearly**
4. **Transportation Charges must be inclusive**
5. **Supplier should quote the price for above said make inverters and batteries only**

**The sealed quotations may be sent to “The Registrar, Sri Krishnadevaraya University, Ananthapuramu – 515 003” superscribing that the “Quotations for 10 KVA UPS” on or before 26-03-2021**

**Sd/-**

**Registrar**