TENDERS/QUOTATIONS:

(Ref. : SKU/UGC-9/ISRO-GBP/AT-CTM/Phy./2022, dated 06.01.2022)

06-01-2022: Sealed Quotations invited from reputed firms for purchase of the following items on or before 25th   January 2022 in a sealed cover by Registered post/Speed post

| S.No. | Description | Purity Ration |
| --- | --- | --- |
| CALIBRATION GASES FOR ANALYZERS |
| 1. | Pure Nitrogen Pure Nitrogen gas in new 47 ltr W/C carbon steel cylinder | 99.999% |
|  | Hydrogen of 99.999% purity (7 cums) |  |
|  | Helium of 99.999% purity (7 cums) |  |
|  | CO2 (Carbon Di Oxide) (31 kgs) |  |
| 2. | Calibration gas mixture in new 10 Ltr W/C Aluminum cylinder |  |
|  | Sulphur Dioxide | 60.000000 PPM |
|  | NOx | 77.000000 PPM |
|  | Carbon Monoxide | 98.000000 PPM |
|  | NO - 10 PPM & Balance N2 |  |
|  | SO2 – 10 PPM & Balance N2 |  |
|  | Methane – 10 PPM /Propane – 1 PPM & Balance N2 |  |
| GAS ANALYZERS SPARE PARTS |
| Sl.No. | DESCRIPTION | Part no. |
| 3. | Spares for Ozone analyser ( APOA-370) |  |
|  | Dissolved Oxygen Unit | 3014061445 |
|  | Pump diaphragm | 3200044033 |
|  | Solenoid value unit | 3014034340 |
| 4. | Spares for NOx analyser (APNA-370) |  |
|  | UV Lamp Unit | 3014038054 |
|  | O-Ring | 3200043785 |
|  | DO Unit | 3200043513 |
|  | Solenoid valve unit | 3014035610 |
| 5. | Spares for CO analyser (APMA-370) |  |
|  | O-Ring | 3200043785 |
|  | Pump Diaphragm | 3200602390 |
| 6. | Spares for CH4/NMHC analyser (APHA-370) |  |
|  | O-Ring | 3014059590 |
|  | Silica gel | 3200044017 |
|  | Pump Diaphragm | 3200602390 |
| 7. | Spares for SO2 analyser (For APSA-370) |  |
|  | Scrubber | 3200092415 |
|  | Xenon lamp | 3200043674 |
| 8. | Filter elements for O3, SO2, CO, NO/ NO2/ NOX and CH4/NMHC analyzers (PA-10L, 54mm in diameter x 0.5 (t) mm 24 pieces per package) | 3200043947 |

- The quotations should be  in the favour of  “The Registrar, S.K. University, Anantapur- 515 003  and  posted to  Dr. K. Rama Gopal, Principal Investigator, ISRO-GBP (AT-CTM) Research Project, Department of Physics, S.K. University, Anantapur-515 003”, Andhra Pradesh

- Price quoted in the quotation must be inclusive of GST.

- The Last date for quotation to reach this office on or before 25-01-2022, 5:00 P.M.

- Calibration gases and spare parts should be delivered to the S.K. University within 4-6 weeks against the Purchase Order.

- Payment will be made against the delivery of Item.

- Specify the full terms & conditions, mode of payment, warranty period, servicing, installation, transport and other conditions including  taxes if any etc

Note: All firms should enclose GST certificate of Registration forms along with their quotations or other wise quotation is invalid.